Sample Lock-out/Tag-out Procedure

On certain occasions, equipment, tools, and machinery must not be used in a CTS learning facility. This is referred to as a lock-out or tag-out. A lock-out or tag-out may be necessary for various reasons, including

- faulty equipment

- inadequate equipment guard(s)

- repair or maintenance of equipment

- unsafe operating conditions

There are several ways to lock-out or tag-out equipment. This may include some or all of the following:

- attaching a tag indicating NOT to use the equipment

- removing the equipment from the learning facility and putting a tag on it

- turning off the breaker and, where appropriate, locking the breaker or cabinet so that only authorized personnel are able to turn it back on

- informing others that the equipment is not to be used

- unplugging the machine, where applicable

More detailed lock-out/tag-out procedures can be found at the following websites:

- http://work.alberta.ca/SearchAARC/636.html

- http://www.gov.ns.ca/lae/healthandsafety/docs/osgr_lock-out.pdf

- https://www.worksafebc.com/en/health-safety/tools-machinery-equipment/lockout

NOTE: Refer to your school district’s occupational health and safety policy on equipment

lock-out/tag-out.