| Task hazard analysis |
| --- |
| Electro-Technologies |
| task | Using Electronic Devices |
| hazards | Potential Hazards | Possible Consequences |
| Physical | electrical | electrical shock burns |
| Chemical | n/a | n/a |
| Biological | bacteria/viruses blood body fluids | Where others have touched devices, possible contamination via viruses/bacteria may occur. |
| Ergonomic | n/a | n/a |
| Psychological | fatigue stress | anxiety inattentiveness poor morale increased illness |
| Pre-operational Safety Checks |
| Inspect the work area for hazards. Inspect tools, equipment, and materials for damage and other hazards. For example, inspect meter leads. Report any hazards. |
| Safe Work Procedure | Cautions |
| Use tools and equipment under competent supervision. Secure loose clothing, and tie back long hair. Follow the manufacturer’s instructions. Follow the school safety policy. Complete a circuit diagram if it is not provided and have the circuit diagram approved by the instructor. Follow the circuit diagram, crossing off conductors and components as they are connected together. Have the work checked by the instructor. Energize the work and note results. De-energize the work. Put away all tools, equipment, and materials in their proper storage areas. Clean the work area. Establish handwashing practices. | Ensure the circuit diagram is approved by the instructor before proceeding with actual wiring. Ensure all components have adequate voltage, current, and/or power rating for the application. Ensure the power supply has fusing and current limitations appropriate for the application. Ensure the physical wiring is checked by the instructor before energizing. |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |