| Task hazard analysis |  |  |
| --- | --- | --- |
| Electro-Technologies |  |  |
| task | Using a Magnetic Motor Controller |  |
| hazards | Potential Hazards | Possible Consequences |
| Physical | - electrical - moving parts | - electrical shock - burns - bruising - eye injury |
| Chemical | - n/a | - n/a |
| Biological | - bacteria/viruses - blood - body fluids | - Where others have touched devices, possible contamination via viruses/bacteria may occur. |
| Ergonomic | - n/a | - n/a |
| Psychological | - fatigue - stress | - anxiety - inattentiveness - poor morale - increased illness |
| Pre-operational Safety Checks |  |  |
| - Inspect the work area for hazards. - Inspect tools, equipment, and materials for damage and hazards. For example, check for electrical cord damage. - Inspect PPE and replace if required. - Report any hazards. |  |  |

| Safe Work Procedure | Cautions |
| --- | --- |
| - Complete schematic (ladder) diagrams and wiring diagrams before proceeding with the lab. - Ensure the diagrams are approved by the instructor. - Put on all required PPE. - Secure loose clothing, and tie back long hair. Remove jewellery. - Use tools and equipment under competent supervision. - Follow the manufacturer’s instructions. - Follow the school safety policy. - Physically set up required equipment. - Electrically connect required equipment according to wiring diagram. - Have the work checked by the instructor. - Energize the work and note the results. - De-energize the work. - Put away all tools, equipment, and materials in their proper storage areas. - Clean the work area. - Establish handwashing practices. | - Ensure all diagrams are approved by the instructor before proceeding with actual wiring. - Ensure the physical wiring is checked by the instructor before energizing. - Ensure a fused power supply is used. |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |  |