| Task hazard analysis |  |  |  |
| --- | --- | --- | --- |
| Electro-Technologies |  |  |  |
| task | Using an Oscilloscope |  |  |
| hazards | Potential Hazards |  | Possible Consequences |
| Physical | - electrical |  | - electrical shock - burns |
| Chemical | - n/a |  | - n/a |
| Biological | - bacteria/viruses - blood - body fluids |  | - Where others have touched devices, possible contamination via viruses/bacteria may occur. |
| Ergonomic | - n/a |  | - n/a |
| Psychological | - fatigue - stress |  | - anxiety - inattentiveness - poor morale - increased illness |
| Pre-operational Safety Checks |  |  |  |
| - Inspect the work area for hazards. - Inspect tools, equipment, and materials for damage and other hazards. For example, inspect meter leads. - Report any hazards. |  |  |  |
| Safe Work Procedure |  | Cautions |  |
| - Use tools and equipment under competent supervision. - Have the work inspected by the instructor before energizing for the first time. - Follow the manufacturer’s instructions. - Follow the school safety policy. - Connect the probe to the BNC connector on the oscilloscope. - Connect the circuit to be analyzed to the source of voltage (line) through an isolating transformer. Any circuit to be analyzed must be isolated from ground. In many electronic devices, this occurs automatically from the transformer that reduces voltage in the device. If there is any doubt, either connect the device to be analyzed through an isolating transformer or use the “1 probe” method. - Connect the BNC probe and “ground” in parallel (across) component(s) to be analyzed, or use the “1 probe” method as appropriate. - Set the “time sweep” and “voltage” controls on the oscilloscope so peak voltage and at least one cycle is displayed on the screen. - Observe and interpret the read-out from the screen. - Disconnect the oscilloscope. - Put away all tools, equipment, and materials in their proper storage areas. - Clean the work area. - Establish handwashing practices. |  | - Use caution when connecting probes to circuitry. Always treat all circuitry as if it is alive, and keep fingers clear. |  |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |  |  |  |