| Task hazard analysis |  |  |  |
| --- | --- | --- | --- |
| Electro-Technologies |  |  |  |
| task | Using Wire Strippers |  |  |
| hazards | Potential Hazards |  | Possible Consequences |
| Physical | - sharp edges and pinch points |  | - cuts - pinching - bruising |
| Chemical | - n/a |  | - n/a |
| Biological | - bacteria/viruses - blood - body fluids |  | - Where others have touched devices, possible contamination via viruses/bacteria may occur. |
| Ergonomic | - n/a |  | - n/a |
| Psychological | - fatigue - stress |  | - anxiety - inattentiveness - poor morale - increased illness |
| Pre-operational Safety Checks |  |  |  |
| - Inspect the work area for hazards. - Inspect tools, equipment, and materials for damage and other hazards. - Report any hazards. |  |  |  |
| Safe Work Procedure |  | Cautions |  |
| - Use tools and equipment under competent supervision. Use correct techniques as per instruction and demonstrations. Use the correct size of wire stripper for the job. - Follow the manufacturer’s instructions. - Follow the school safety policy. - Put away all tools, equipment, and materials in their proper storage areas. - Clean the work area. - Establish handwashing practices. |  | - Be aware of and avoid touching pinch points. |  |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |  |  |  |