|  |  | Electro-Technologies Health & Safety Guidelines Do not enter the instructional area unless the instructor is present. - Report all dangers, incidents, any damaged tools or equipment, unsafe working environments, or injuries immediately. - Know what to do in an emergency! - Know the evacuation procedures. - Do not touch anyone who becomes seized onto a high-voltage power source or equipment, Shut off the power. - Be familiar with benefits and hazards of grounding. - If you must touch an energized circuit, use only one hand. Keep your other hand behind your back. - Be familiar with the location and proper use of all emergency equipment in the shop, including fire extinguishers, power shutoff buttons, fire blankets, first aid kits, and eyewash stations. - No horseplay—report unsafe acts! - Think safety! Do not work in the shop area - if you are tired. Stop and rest. - if you are rushed. Slow down. - if you are under the influence of alcohol or drugs - Respect yourself, others, the instructor, and the tools, equipment and instructional area. - Be aware of the risks your work may pose to others, especially when using hazardous tools, equipment, or materials (e.g., arc welders, compressed air, grinders, cleaners, etc.) - If you feel unsafe about a particular activity, consult with your instructor before proceeding. - Perform safety checks on yourself, surroundings, tools, equipment, or materials. - Wear the appropriate personal protective equipment (PPE) for the task to prevent injury. - Eye protection, such as safety glasses or face shields, must be worn when there is a possibility that the eyes or face will be exposed to any flying objects, intense heat, harmful light (e.g., welding or soldering), or splashes from hazardous chemicals. - High heels or open-toed sandals are not permitted in the shop. - Long hair, loose clothing, and jewellery must be secured or removed to prevent them from getting caught in machinery. - Be sure your work area is well-organized, well-lit, and local and general ventilation is on. - Prevent unnecessary strain or injury by working in a comfortable position. - Identify, handle, store, or dispose of any hazardous materials using WHMIS regulations. - Know the location of the MSDS for the materials being used. - Do not use any tools or equipment unless you have been properly trained and can demonstrate the safe use, operation, and shutdown procedures. - Do not use any tools or equipment unless you have permission. - All safety guards must be in place while operating tools or equipment. - Use caution with battery acid/alkaline and soldering pencils, which can cause burns or blindness. - Securely fasten tools, equipment, and materials to the work surface as needed. - Disconnect power when setting up a machine for use (e.g., blade, drill bit, mixer blade, etc.). - Never leave tools or equipment operating while unattended. - Stay with the tool or equipment until all parts have stopped moving. - Respect the yellow caution strips or markings for the equipment worker zone. - Clean your area at the end of class, returning all tools, equipment, materials, projects, and PPE safely and securely to their proper storage locations. - Keep the floor, work areas, and exits clear and free of obstructions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |