| TMT: TRADES, MANUFACTURING, and TRANSPORTATION |  |  |
| --- | --- | --- |
| Construction |  |  |
| task | Using Wood Finishes |  |
| hazards | Potential Hazards | Possible Consequences |
| Physical | - fire | - burns |
| Chemical | - naptha, polyurethane, mineral spirits, petroleum distillates, linseed oil, varnish resin, tung oil (See the MSDS for the specific finish used.) - volatile organic compounds | - skin irritation - eye irritation - lung irritation - headache - nausea - dizziness |
| Biological | - n/a | - n/a |
| Ergonomic | - n/a | - n/a |
| Psychological | - fatigue - stress | - anxiety - inattentiveness - poor morale - increased illness |
| Pre-operational Safety Checks |  |  |
| - Inspect the work area for hazards. - Refer to the product label and the Material Safety Data Sheet (MSDS) for the specific product used. - Inspect tools, equipment, and materials for damage and other hazards. - Inspect the ventilation equipment. - Inspect PPE and replace if required. - Report any hazards. |  |  |

| Safe Work Procedure | Cautions |
| --- | --- |
| - Put on required PPE. - Secure loose clothing, and tie back long hair. - Follow the manufacturer’s instructions. - Follow the school safety policy. - Read the label and Material Safety Data Sheet (MSDS) for the specific product to be used. - Ensure adequate ventilation as required. - Apply the finish to the material surface using the desired method (e.g., wipe on, spray, brush). - Dispose of finishing rags according to the product label and local fire department recommendations. - Put away all tools, equipment, and materials in their proper storage areas. - Keep your work area clean as you work and make sure to clean up when you are done. - Establish handwashing practices. | - Do not breathe in vapours. - Have a fire extinguisher available when using flammable finishes. - Use only verified food-safe products for finishing projects that will be used for serving food or that are made for children. |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |  |